Data quality control and inter-calibration for regional ocean modeling and real-time exercises

Wayne G. Leslie

MIT

Abstract

- Introduction

Nature of problem, Errors of Representativeness (representation error), Real-time vs. a posteriori, QC issues (incl. inter-calibration issues); Shifts in climatology; Consequences for modeling (conceptually we are taking raw data and turning it into data useful for modeling).

- Data Processing Procedures

- “Profile” data – hydrographic, velocity (current meter, adcp)

      - Obvious: verification of position, elimination of obvious malfunctions

      - Recovery: removal of spikes - surface, intermediate, bottom; partial casts – segments of vertical profile usable; individual variable(s) – one (or more) variable may be usable (e.g. XBTs from CTDs)

      - Smoothing: filtering – Gaussian, Median, Moving, Other; Set to 1m intervals - Decimation, Interpolation, Box averaging

      - Inter-comparison: Comparison with other available synoptic data: values, structures (vert., horiz.)

- “Mapped” data – remotely sensed

      - SST: Satellite (AVHRR), Aircraft

      - SSC

      - SAR

      - SSH

- Meteorological

      - Atmospheric modeling systems

      - Land stations

      - Buoys

      - Inter-comparisons

- Inter-calibration: need, methodology, comparison with climatology (annual, seasonal, monthly consequences of horizontal resolution, differences due to shift in climatology), bias removal, trend removal

- Consequences

- Data management

  - Ad hoc vs. managed

  - Management systems

  - Metadata

  - Standardized formats

- Software

  - Tools available: Display, Processing

  - Toolbox

  - Tools under development

- Conclusions